## TempScaleRMS_Analysis
"0" mark | GRT Res | RMS Value
0.0002 | 10 | 0.041
0.0002 | 15 | 0.1222
0.0002 | 22 | 0.2706
0.0002 | 33 | 0.5599
0.0002 | 47 | 0.9782
0.0002 | 68 | 1.6383

## ADC_to_AD2
| AD2 Input | ADC bit reading | Converted Voltage reading
DC | 0.1 | 321511 | 0.095818
DC | 0.2 | 687315 | 0.20484
DC | 0.3 | 1051835 | 0.31338
DC | 0.4 | 1349897 | 0.40229
DC | 0.5 | 1698228 | 0.50611
DC | 0.6 | 2086196 | 0.62173

## UnderstandingRMS_FromADC
|  | 0.1744 | 0.1731 | 0.030415 | 0.029964
|  | 0.1935 | 0.1922 | 0.037442 | 0.036941
|  | 0.2127 | 0.2114 | 0.045241 | 0.04469
|  | 0.2323 | 0.231 | 0.053963 | 0.053361
|  | 0.2519 | 0.2506 | 0.063454 | 0.0628
|  | 0.2714 | 0.2701 | 0.073658 | 0.072954
|  | 0.2907 | 0.2894 | 0.084506 | 0.083752
|  | 0.3097 | 0.3084 | 0.095914 | 0.095111
|  | 0.3285 | 0.3272 | 0.10791 | 0.10706
|  | 0.3472 | 0.3459 | 0.12055 | 0.11965
|  | 0.3658 | 0.3645 | 0.13381 | 0.13286
|  | 0.3843 | 0.383 | 0.14769 | 0.14669
|  | 0.4026 | 0.4013 | 0.16209 | 0.16104
|  | 0.4206 | 0.4193 | 0.1769 | 0.17581
|  | 0.4385 | 0.4372 | 0.19228 | 0.19114
|  | 0.4562 | 0.4549 | 0.20812 | 0.20693
|  | 0.4739 | 0.4726 | 0.22458 | 0.22335
|  | 0.4911 | 0.4898 | 0.24118 | 0.2399
|  | 0.5082 | 0.5069 | 0.25827 | 0.25695
|  | 0.5247 | 0.5234 | 0.27531 | 0.27395
|  | 0.5407 | 0.5394 | 0.29236 | 0.29095
|  | 0.5572 | 0.5559 | 0.31047 | 0.30902
|  | 0.5734 | 0.5721 | 0.32879 | 0.3273
|  | 0.5894 | 0.5881 | 0.34739 | 0.34586
|  | 0.6053 | 0.604 | 0.36639 | 0.36482
|  | 0.6209 | 0.6196 | 0.38552 | 0.3839
|  | 0.6362 | 0.6349 | 0.40475 | 0.4031
|  | 0.6512 | 0.6499 | 0.42406 | 0.42237
|  | 0.6659 | 0.6646 | 0.44342 | 0.44169
|  | 0.6804 | 0.6791 | 0.46294 | 0.46118
|  | 0.6947 | 0.6934 | 0.48261 | 0.4808
|  | 0.7087 | 0.7074 | 0.50226 | 0.50041
|  | 0.7224 | 0.7211 | 0.52186 | 0.51999
|  | 0.7358 | 0.7345 | 0.5414 | 0.53949
|  | 0.749 | 0.7477 | 0.561 | 0.55906
|  | 0.7618 | 0.7605 | 0.58034 | 0.57836
|  | 0.7744 | 0.7731 | 0.5997 | 0.59768
|  | 0.7866 | 0.7853 | 0.61874 | 0.6167
|  | 0.798 | 0.7967 | 0.6368 | 0.63473
|  | 0.8094 | 0.8081 | 0.65513 | 0.65303
|  | 0.8207 | 0.8194 | 0.67355 | 0.67142
|  | 0.8316 | 0.8303 | 0.69156 | 0.6894
|  | 0.8423 | 0.841 | 0.70947 | 0.70728
|  | 0.8527 | 0.8514 | 0.7271 | 0.72488
|  | 0.8627 | 0.8614 | 0.74425 | 0.74201
|  | 0.8724 | 0.8711 | 0.76108 | 0.75882
|  | 0.8817 | 0.8804 | 0.77739 | 0.7751
|  | 0.8906 | 0.8893 | 0.79317 | 0.79085
|  | 0.8993 | 0.898 | 0.80874 | 0.8064
|  | 0.9075 | 0.9062 | 0.82356 | 0.8212
|  | 0.9155 | 0.9142 | 0.83814 | 0.83576
|  | 0.923 | 0.9217 | 0.85193 | 0.84953
|  | 0.9302 | 0.9289 | 0.86527 | 0.86286
|  | 0.9371 | 0.9358 | 0.87816 | 0.87572
|  | 0.9436 | 0.9423 | 0.89038 | 0.88793
|  | 0.9496 | 0.9483 | 0.90174 | 0.89927
|  | 0.9552 | 0.9539 | 0.91241 | 0.90993
|  | 0.9604 | 0.9591 | 0.92237 | 0.91987
|  | 0.9653 | 0.964 | 0.9318 | 0.9293
|  | 0.9699 | 0.9686 | 0.94071 | 0.93819
|  | 0.9742 | 0.9729 | 0.94907 | 0.94653
|  | 0.9781 | 0.9768 | 0.95668 | 0.95414
|  | 0.9815 | 0.9802 | 0.96334 | 0.96079
|  | 0.9846 | 0.9833 | 0.96944 | 0.96688
|  | 0.9873 | 0.986 | 0.97476 | 0.9722
|  | 0.9895 | 0.9882 | 0.97911 | 0.97654
|  | 0.9913 | 0.99 | 0.98268 | 0.9801
|  | 0.9928 | 0.9915 | 0.98565 | 0.98307
|  | 0.9939 | 0.9926 | 0.98784 | 0.98525
|  | 0.9947 | 0.9934 | 0.98943 | 0.98684
|  | 0.995 | 0.9937 | 0.99003 | 0.98744
|  | 0.9949 | 0.9936 | 0.98983 | 0.98724
|  | 0.9944 | 0.9931 | 0.98883 | 0.98625
|  | 0.9936 | 0.9923 | 0.98724 | 0.98466
|  | 0.9924 | 0.9911 | 0.98486 | 0.98228
|  | 0.9909 | 0.9896 | 0.98188 | 0.97931
|  | 0.9891 | 0.9878 | 0.97832 | 0.97575
|  | 0.9868 | 0.9855 | 0.97377 | 0.97121
|  | 0.984 | 0.9827 | 0.96826 | 0.9657
|  | 0.9809 | 0.9796 | 0.96216 | 0.95962
|  | 0.9774 | 0.9761 | 0.95531 | 0.95277
|  | 0.9734 | 0.9721 | 0.94751 | 0.94498
|  | 0.9691 | 0.9678 | 0.93915 | 0.93664
|  | 0.9644 | 0.9631 | 0.93007 | 0.92756
|  | 0.9593 | 0.958 | 0.92026 | 0.91776
|  | 0.9538 | 0.9525 | 0.90973 | 0.90726
|  | 0.948 | 0.9467 | 0.8987 | 0.89624
|  | 0.9418 | 0.9405 | 0.88699 | 0.88454
|  | 0.9353 | 0.934 | 0.87479 | 0.87236
|  | 0.9283 | 0.927 | 0.86174 | 0.85933
|  | 0.921 | 0.9197 | 0.84824 | 0.84585
|  | 0.9132 | 0.9119 | 0.83393 | 0.83156
|  | 0.9052 | 0.9039 | 0.81939 | 0.81704
|  | 0.8972 | 0.8959 | 0.80497 | 0.80264
|  | 0.8887 | 0.8874 | 0.78979 | 0.78748
|  | 0.8797 | 0.8784 | 0.77387 | 0.77159
|  | 0.8702 | 0.8689 | 0.75725 | 0.75499
|  | 0.8605 | 0.8592 | 0.74046 | 0.73822
|  | 0.8505 | 0.8492 | 0.72335 | 0.72114
|  | 0.84 | 0.8387 | 0.7056 | 0.70342
|  | 0.8293 | 0.828 | 0.68774 | 0.68558
|  | 0.8183 | 0.817 | 0.66961 | 0.66749
|  | 0.8069 | 0.8056 | 0.65109 | 0.64899
|  | 0.7952 | 0.7939 | 0.63234 | 0.63028
|  | 0.7832 | 0.7819 | 0.6134 | 0.61137
|  | 0.7708 | 0.7695 | 0.59413 | 0.59213
|  | 0.7582 | 0.7569 | 0.57487 | 0.5729
|  | 0.7452 | 0.7439 | 0.55532 | 0.55339
|  | 0.732 | 0.7307 | 0.53582 | 0.53392
|  | 0.7184 | 0.7171 | 0.5161 | 0.51423
|  | 0.7046 | 0.7033 | 0.49646 | 0.49463
|  | 0.6909 | 0.6896 | 0.47734 | 0.47555
|  | 0.6772 | 0.6759 | 0.4586 | 0.45684
|  | 0.6627 | 0.6614 | 0.43917 | 0.43745
|  | 0.648 | 0.6467 | 0.4199 | 0.41822
|  | 0.6329 | 0.6316 | 0.40056 | 0.39892
|  | 0.6175 | 0.6162 | 0.38131 | 0.3797
|  | 0.6019 | 0.6006 | 0.36228 | 0.36072
|  | 0.586 | 0.5847 | 0.3434 | 0.34187
|  | 0.57 | 0.5687 | 0.3249 | 0.32342
|  | 0.5537 | 0.5524 | 0.30658 | 0.30515
|  | 0.5372 | 0.5359 | 0.28858 | 0.28719
|  | 0.5204 | 0.5191 | 0.27082 | 0.26946
|  | 0.5034 | 0.5021 | 0.25341 | 0.2521
|  | 0.4862 | 0.4849 | 0.23639 | 0.23513
|  | 0.4688 | 0.4675 | 0.21977 | 0.21856
|  | 0.4512 | 0.4499 | 0.20358 | 0.20241
|  | 0.4334 | 0.4321 | 0.18784 | 0.18671
|  | 0.4154 | 0.4141 | 0.17256 | 0.17148
|  | 0.3974 | 0.3961 | 0.15793 | 0.1569
|  | 0.3798 | 0.3785 | 0.14425 | 0.14326
|  | 0.3619 | 0.3606 | 0.13097 | 0.13003
|  | 0.3432 | 0.3419 | 0.11779 | 0.1169
|  | 0.3244 | 0.3231 | 0.10524 | 0.10439
|  | 0.3056 | 0.3043 | 0.093391 | 0.092598
|  | 0.2865 | 0.2852 | 0.082082 | 0.081339
|  | 0.2672 | 0.2659 | 0.071396 | 0.070703
|  | 0.2478 | 0.2465 | 0.061405 | 0.060762
|  | 0.2283 | 0.227 | 0.052121 | 0.051529
|  | 0.2087 | 0.2074 | 0.043556 | 0.043015
|  | 0.1888 | 0.1875 | 0.035645 | 0.035156
|  | 0.1688 | 0.1675 | 0.028493 | 0.028056
|  | 0.1488 | 0.1475 | 0.022141 | 0.021756
|  | 0.1288 | 0.1275 | 0.016589 | 0.016256
|  | 0.1086 | 0.1073 | 0.011794 | 0.011513
|  | 0.0882 | 0.0869 | 0.0077792 | 0.0075516
|  | 0.068 | 0.0667 | 0.004624 | 0.0044489
|  | 0.0479 | 0.0466 | 0.0022944 | 0.0021716
|  | 0.0283 | 0.027 | 0.00080089 | 0.000729
|  | 0.0107 | 0.0094 | 0.00011449 | 8.836e-05
|  | 0.0013 | 0 | 1.69e-06 | 0
|  | 0.0018 | 0.0005 | 3.24e-06 | 2.5e-07
|  | 0.0129 | 0.0116 | 0.00016641 | 0.00013456
|  | 0.032 | 0.0307 | 0.001024 | 0.00094249
|  | 0.0521 | 0.0508 | 0.0027144 | 0.0025806
|  | 0.0723 | 0.071 | 0.0052273 | 0.005041
|  | 0.0926 | 0.0913 | 0.0085748 | 0.0083357
|  | 0.1129 | 0.1116 | 0.012746 | 0.012455
|  | 0.1331 | 0.1318 | 0.017716 | 0.017371
|  | 0.1531 | 0.1518 | 0.02344 | 0.023043
|  | 0.1731 | 0.1718 | 0.029964 | 0.029515
|  | 0.193 | 0.1917 | 0.037249 | 0.036749
|  | 0.2128 | 0.2115 | 0.045284 | 0.044732
|  | 0.2324 | 0.2311 | 0.05401 | 0.053407
|  | 0.2519 | 0.2506 | 0.063454 | 0.0628
|  | 0.2713 | 0.27 | 0.073604 | 0.0729
|  | 0.2904 | 0.2891 | 0.084332 | 0.083579
|  | 0.3087 | 0.3074 | 0.095296 | 0.094495
|  | 0.327 | 0.3257 | 0.10693 | 0.10608
|  | 0.3457 | 0.3444 | 0.11951 | 0.11861
|  | 0.3644 | 0.3631 | 0.13279 | 0.13184
|  | 0.3829 | 0.3816 | 0.14661 | 0.14562
|  | 0.4011 | 0.3998 | 0.16088 | 0.15984
|  | 0.4192 | 0.4179 | 0.17573 | 0.17464
|  | 0.4371 | 0.4358 | 0.19106 | 0.18992
|  | 0.4548 | 0.4535 | 0.20684 | 0.20566
|  | 0.4724 | 0.4711 | 0.22316 | 0.22194
|  | 0.4897 | 0.4884 | 0.23981 | 0.23853
|  | 0.5069 | 0.5056 | 0.25695 | 0.25563
|  | 0.5239 | 0.5226 | 0.27447 | 0.27311
|  | 0.5407 | 0.5394 | 0.29236 | 0.29095
|  | 0.5572 | 0.5559 | 0.31047 | 0.30902
|  | 0.5734 | 0.5721 | 0.32879 | 0.3273
|  | 0.5894 | 0.5881 | 0.34739 | 0.34586
|  | 0.6052 | 0.6039 | 0.36627 | 0.3647
|  | 0.6203 | 0.619 | 0.38477 | 0.38316
|  | 0.635 | 0.6337 | 0.40323 | 0.40158
|  | 0.65 | 0.6487 | 0.4225 | 0.42081
|  | 0.6647 | 0.6634 | 0.44183 | 0.4401
|  | 0.6792 | 0.6779 | 0.46131 | 0.45955
|  | 0.6935 | 0.6922 | 0.48094 | 0.47914
|  | 0.7076 | 0.7063 | 0.5007 | 0.49886
|  | 0.7213 | 0.72 | 0.52027 | 0.5184
|  | 0.7348 | 0.7335 | 0.53993 | 0.53802
|  | 0.748 | 0.7467 | 0.5595 | 0.55756
|  | 0.7609 | 0.7596 | 0.57897 | 0.57699
|  | 0.7734 | 0.7721 | 0.59815 | 0.59614
|  | 0.7857 | 0.7844 | 0.61732 | 0.61528
|  | 0.7977 | 0.7964 | 0.63633 | 0.63425
|  | 0.8093 | 0.808 | 0.65497 | 0.65286
|  | 0.8207 | 0.8194 | 0.67355 | 0.67142
|  | 0.8316 | 0.8303 | 0.69156 | 0.6894
|  | 0.8422 | 0.8409 | 0.7093 | 0.70711
|  | 0.8525 | 0.8512 | 0.72676 | 0.72454
|  | 0.8621 | 0.8608 | 0.74322 | 0.74098
|  | 0.8716 | 0.8703 | 0.75969 | 0.75742
|  | 0.881 | 0.8797 | 0.77616 | 0.77387
|  | 0.89 | 0.8887 | 0.7921 | 0.78979
|  | 0.8986 | 0.8973 | 0.80748 | 0.80515
|  | 0.9069 | 0.9056 | 0.82247 | 0.82011
|  | 0.9148 | 0.9135 | 0.83686 | 0.83448
|  | 0.9224 | 0.9211 | 0.85082 | 0.84843
|  | 0.9297 | 0.9284 | 0.86434 | 0.86193
|  | 0.9365 | 0.9352 | 0.87703 | 0.8746
|  | 0.9431 | 0.9418 | 0.88944 | 0.88699
|  | 0.9491 | 0.9478 | 0.90079 | 0.89832
|  | 0.9549 | 0.9536 | 0.91183 | 0.90935
|  | 0.9603 | 0.959 | 0.92218 | 0.91968
|  | 0.9652 | 0.9639 | 0.93161 | 0.9291
|  | 0.9699 | 0.9686 | 0.94071 | 0.93819
|  | 0.9741 | 0.9728 | 0.94887 | 0.94634
|  | 0.9779 | 0.9766 | 0.95629 | 0.95375
|  | 0.9814 | 0.9801 | 0.96315 | 0.9606
|  | 0.9843 | 0.983 | 0.96885 | 0.96629
|  | 0.9871 | 0.9858 | 0.97437 | 0.9718
|  | 0.9893 | 0.988 | 0.97871 | 0.97614
|  | 0.9911 | 0.9898 | 0.98228 | 0.9797
|  | 0.9927 | 0.9914 | 0.98545 | 0.98287
|  | 0.9939 | 0.9926 | 0.98784 | 0.98525
|  | 0.9947 | 0.9934 | 0.98943 | 0.98684
|  | 0.995 | 0.9937 | 0.99003 | 0.98744
|  | 0.995 | 0.9937 | 0.99003 | 0.98744
|  | 0.9945 | 0.9932 | 0.98903 | 0.98645
|  | 0.9936 | 0.9923 | 0.98724 | 0.98466
|  | 0.9925 | 0.9912 | 0.98506 | 0.98248
|  | 0.991 | 0.9897 | 0.98208 | 0.97951
|  | 0.9892 | 0.9879 | 0.97852 | 0.97595
|  | 0.9868 | 0.9855 | 0.97377 | 0.97121
|  | 0.9841 | 0.9828 | 0.96845 | 0.9659
|  | 0.9809 | 0.9796 | 0.96216 | 0.95962
|  | 0.9775 | 0.9762 | 0.95551 | 0.95297
|  | 0.9737 | 0.9724 | 0.94809 | 0.94556
|  | 0.9695 | 0.9682 | 0.93993 | 0.93741
|  | 0.9648 | 0.9635 | 0.93084 | 0.92833
|  | 0.9598 | 0.9585 | 0.92122 | 0.91872
|  | 0.9543 | 0.953 | 0.91069 | 0.90821
|  | 0.9485 | 0.9472 | 0.89965 | 0.89719
|  | 0.9424 | 0.9411 | 0.88812 | 0.88567
|  | 0.9358 | 0.9345 | 0.87572 | 0.87329
|  | 0.9289 | 0.9276 | 0.86286 | 0.86044
|  | 0.9216 | 0.9203 | 0.84935 | 0.84695
|  | 0.914 | 0.9127 | 0.8354 | 0.83302
|  | 0.906 | 0.9047 | 0.82084 | 0.81848
|  | 0.8976 | 0.8963 | 0.80569 | 0.80335
|  | 0.8889 | 0.8876 | 0.79014 | 0.78783
|  | 0.8798 | 0.8785 | 0.77405 | 0.77176
|  | 0.8704 | 0.8691 | 0.7576 | 0.75533
|  | 0.8606 | 0.8593 | 0.74063 | 0.7384
|  | 0.8506 | 0.8493 | 0.72352 | 0.72131
|  | 0.8406 | 0.8393 | 0.70661 | 0.70442
|  | 0.8301 | 0.8288 | 0.68907 | 0.68691
|  | 0.8192 | 0.8179 | 0.67109 | 0.66896
|  | 0.8079 | 0.8066 | 0.6527 | 0.6506
|  | 0.7962 | 0.7949 | 0.63393 | 0.63187
|  | 0.7842 | 0.7829 | 0.61497 | 0.61293
|  | 0.7718 | 0.7705 | 0.59568 | 0.59367
|  | 0.7592 | 0.7579 | 0.57638 | 0.57441
|  | 0.7463 | 0.745 | 0.55696 | 0.55502
|  | 0.7331 | 0.7318 | 0.53744 | 0.53553
|  | 0.7196 | 0.7183 | 0.51782 | 0.51595
|  | 0.7059 | 0.7046 | 0.49829 | 0.49646
|  | 0.6918 | 0.6905 | 0.47859 | 0.47679
|  | 0.6775 | 0.6762 | 0.45901 | 0.45725
|  | 0.6629 | 0.6616 | 0.43944 | 0.43771
|  | 0.6481 | 0.6468 | 0.42003 | 0.41835
|  | 0.6331 | 0.6318 | 0.40082 | 0.39917
|  | 0.6177 | 0.6164 | 0.38155 | 0.37995
|  | 0.6025 | 0.6012 | 0.36301 | 0.36144
|  | 0.5873 | 0.586 | 0.34492 | 0.3434
|  | 0.5713 | 0.57 | 0.32638 | 0.3249
|  | 0.5551 | 0.5538 | 0.30814 | 0.30669
|  | 0.5386 | 0.5373 | 0.29009 | 0.28869
|  | 0.5218 | 0.5205 | 0.27228 | 0.27092
|  | 0.5048 | 0.5035 | 0.25482 | 0.25351
|  | 0.4877 | 0.4864 | 0.23785 | 0.23658
|  | 0.4703 | 0.469 | 0.22118 | 0.21996
|  | 0.4527 | 0.4514 | 0.20494 | 0.20376
|  | 0.435 | 0.4337 | 0.18923 | 0.1881
|  | 0.417 | 0.4157 | 0.17389 | 0.17281
|  | 0.3989 | 0.3976 | 0.15912 | 0.15809
|  | 0.3806 | 0.3793 | 0.14486 | 0.14387
|  | 0.362 | 0.3607 | 0.13104 | 0.1301
|  | 0.3434 | 0.3421 | 0.11792 | 0.11703
|  | 0.3246 | 0.3233 | 0.10537 | 0.10452
|  | 0.3057 | 0.3044 | 0.093452 | 0.092659
|  | 0.2869 | 0.2856 | 0.082312 | 0.081567
|  | 0.2684 | 0.2671 | 0.072039 | 0.071342
|  | 0.2493 | 0.248 | 0.06215 | 0.061504
|  | 0.2299 | 0.2286 | 0.052854 | 0.052258
|  | 0.2103 | 0.209 | 0.044226 | 0.043681
|  | 0.1905 | 0.1892 | 0.03629 | 0.035797
|  | 0.1705 | 0.1692 | 0.02907 | 0.028629
|  | 0.1506 | 0.1493 | 0.02268 | 0.02229
|  | 0.1306 | 0.1293 | 0.017056 | 0.016718
|  | 0.1104 | 0.1091 | 0.012188 | 0.011903
|  | 0.0901 | 0.0888 | 0.008118 | 0.0078854
|  | 0.0698 | 0.0685 | 0.004872 | 0.0046923
|  | 0.0497 | 0.0484 | 0.0024701 | 0.0023426
|  | 0.0296 | 0.0283 | 0.00087616 | 0.00080089
|  | 0.0109 | 0.0096 | 0.00011881 | 9.216e-05
|  | 0.0013 | 0 | 1.69e-06 | 0
|  | 0.0022 | 0.0009 | 4.84e-06 | 8.1e-07
|  | 0.014 | 0.0127 | 0.000196 | 0.00016129
|  | 0.0332 | 0.0319 | 0.0011022 | 0.0010176
|  | 0.0528 | 0.0515 | 0.0027878 | 0.0026522
|  | 0.0722 | 0.0709 | 0.0052128 | 0.0050268
|  | 0.0924 | 0.0911 | 0.0085378 | 0.0082992
|  | 0.1126 | 0.1113 | 0.012679 | 0.012388
|  | 0.1328 | 0.1315 | 0.017636 | 0.017292
|  | 0 | 0 | 0 | 0
Teensy Code |  | Calculated |  | Corrected for minimum value offset
RMS_Voltage |  | RMS_Voltage |  | RMS_voltage
0.70105 |  | 0.70105 |  | 0.69988
I printed out the voltage read values, then calculated RMS here and compared to the RMS calculated by code
I also corrected each voltage reading by subtracting the min voltage reading in the data set
and did the RMS again on it with little change, went down a little
This is with a 1V 0 offset from AD2, so want to be getting about 0.7071…